## Slide 1: Fire Prevention and Protection Handbook
The purpose of this handbook is to better inform functional and facility managers on fire and life safety for there respective facilities and employees.
Governing Codes, Regulations, and Standards
AFI 32-2001, Civil Engineering Fire and Emergency Services Program
AFI 32-10141, Planning and Programming Fire Safety Deficiency Correction Projects
AFI 91-203, Consolidated Occupational Safety Instruction
UFC 3-600-01, Fire Protection Engineering for Facilities
NFPA 1, National Fire Code
NFPA 101, Life Safety Code
IN THE EVENT OF AN EMERGENCY CALL 9-1-1!!!!
Know your Building Number & Street Address
Provide name and contact information
Using cell phones may be routed to the Newport News Dispatch. Just make it clear you are on Ft. Eustis and they will transfer you.
Non-Emergency: (757)878-1008 Fire prevention: Call 878-4281, Ext: 321, 323, 354, & 327

## Slide 2: Fire Prevention and Protection Functional & Facility Manager - Responsibilities
Roles and responsibilities of the Functional and Facility Manager are identified in AFI 32-10141.
Functional Manager. The organizational commander responsible for the care, custody, and protection of assigned real property will initiate the process to correct existing FSDs and assist in preventing the creation of new FSDs. (T-1) Responsibilities include the following:
  2.5.2.1. Ensure compliance with fire prevention requirements in their areas of responsibility. (T-1)
  2.5.2.2. Provide workplaces that are free from fire safety deficiencies and conduct self-inspections for fire safety hazards and deficiencies (T-1)
  2.5.2.3. Establish and implement hazard reporting and abatement programs. (T-1)
  2.5.2.4. Establish procedures for employees to follow in situations of imminent danger. (T-1)
  2.5.2.5. Enforce compliance with OSHA guidelines. (T-1)
Facility Manager (Building Manager). The facility/building manager works for the functional manager and is ultimately responsible for, submitting the work request, or calling in the work order to correct an FSD. The installation fire prevention office is available to assist the facility manager in completing the work request by identifying necessary corrective actions and the applicable design standard. (T-2)

## Slide 3: Fire Prevention and Protection Functional & Facility Manager - Responsibilities
Role of the Fire Emergency Services Flight (Fort Eustis Fire Department)
The fire emergency services flight is normally responsible for identifying FSDs. Once identified, the fire emergency services flight shall be involved in the work order review boards, facility working group meetings, and/or design review meetings. The fire emergency services flight will also attend pre-construction meetings and final facility inspections to ensure that fire safety policies and practices are being followed and that the FSD is properly corrected. Responsibilities include the following:
2.7.1. Conduct fire protection inspections and assessments. (T-1)
2.7.2. Evaluate fire hazard reports and coordinate actions with installation ground safety personnel as required. (T-1)
2.7.3. Assign risk assessment codes (RAC) to fire-related hazards IAW AFI 91-202 and/or FSD rating to FSDs IAW this instruction and coordinate them with safety officials as required. (T-2)
2.7.4. Maintain copies of OSHA standards, AFOSH related instructions/guidance and other fire prevention guidelines. (T-2)
2.7.5. Maintain a file of approved permanent exemptions or alternative/equivalency exemptions related to fire protection standards and requirements.(T-1)
2.7.6. Maintain a file of approved mitigation/corrective action plans developed under this guidance to fire-related standards. (T-2)

## Slide 4: Fire Prevention and Protection FM Responsibilities
Facility Inspections
Fire Inspections will occur at least annually for all facilities.
  Facility Managers will accompany Fire Inspectors on all inspections to ensure that access is available to all areas of the facility.
All inspections will be documented and kept in a data base whether regardless of Fire Safety Deficiencies (FSD) being recorded.
  When FSD’S are recorded the documentation will be annotated and provided on a AF Form 1487 for signature form the functional manager
  When no FSD’s are recorded, an AF Form 218 will be provided no signature required
  Correct each deficiency immediately when possible.

## Slide 5: Fire Prevention and Protection FM Responsibilities
  What is a Fire Safety Deficiency (FSD)? A condition which reduces fire safety below an acceptable level, including noncompliance with standards, but by itself cannot cause a fire to occur.
  FSD I indicates a deficiency with the greatest risk to life and mission continuity
  FSD II indicates a significant risk to mission continuity and/or existing property capability.
  FSD III indicates a deficiency with the least risk to life, mission continuity and/or existing property capability.
  All FSD’s must have a Corrective Action Plan (CAP)
  What is a Corrective Action Plan (CAP)? Its simply the direction that must be taken to correct the FSD. For example: An out of date fire extinguisher (FSD III) will just need to be replaced. FSD I & II’s are more extensive.
  In accordance with AFI 32-10141, all FSD’s assigned a I or II, requests for permanent exemption to criteria must be submitted through the MAJCOM to AFCEC/COS (see UFC 3-600-01) by the appropriate commander. (T-1) or (T-2). Exemptions should be submitted following the staff study process and format in AFH 33-337. Emphasis should be placed on explaining how the increased mission continuity risk can be tolerated/assumed by the Air Force.

## Slide 6: Fire Prevention and Protection FM Responsibilities
A CAP for an existing facility, a mitigation/corrective action plan shall be prepared by the facility manager with the support of the fire emergency service flight, the engineering flight, the operations flight (as appropriate), and wing safety.
The plan shall specifically identify the level of occupancy and operations permitted pending the correction of the FSD. This plan starts with Fire & Emergency Services and will be routed to the Wing Commander for approval of the plan before forwarding it to the MAJCOM/A7 for informational purposes.

## Slide 7: Fire Prevention and Protection FM Responsibilities
Fire Inspections include all of the following:
Exterior Elements
  Building Number
  POC information for after hours
  Fire Lanes not blocked
  Fire Hydrants not blocked
  Designated Smoking Locations
Inspection and Reporting of Fire Alarm and Suppression Systems
Evacuation Procedures
Fire Doors
Exits: Paths of egress, exit lights, blocked pathways
Electrical Elements: Coffee Pots, Surge Protectors, Unauthorized usages.
All Cooking areas
Fire Extinguishers
Heating Appliances
Decorations
General House keeping
Etc…
Fire Marshal Training is combined with Additional Duty Safety Officers Training (ADSO). 633rd Wing Safety is the coordinator. For more Info. Bldg 705 Washington Blvd, Suite 227 Joint Base Langley-Eustis, VA (757) 501-8226 POC: William Johnson

## Slide 8: Fire Prevention and Protection FM Responsibilities
Portable Electric Heaters - Space Heaters (JBLE-Eustis) are prohibited accept by service order request via 733 HELP Desk (757) 878-4357. 733 Operations Flight will authorize or not authorize space heater usage. The Operations Flight will notify Fort Eustis Fire Emergency Services of the granted use. An inspection will be conducted in accordance with AFI 91-203 Section 6.2.10 for compliance.
All space heaters shall be tested and certified by an OSHA Nationally Recognized Testing Laboratory Program. Units must have a built-in tilt switch and metal screen over the heating elements. Keep all space heaters 3 feet away from combustible materials. Space heaters shall not be left unattended. Plug space heater directly into the wall receptacle and not into an extension cord, power strip, or UPS. Safe use of a space heater will be the responsibility of the user.

## Slide 9: Fire Prevention and Protection FM Responsibilities
Welding, Cutting, Brazing, Soldering, etc.
Basically anything that creates a spark
Required to obtain a Hot Work Permit
Please Allow 24Hr Advanced Notice!!
Obtained by calling or coming by Fire Station #1, Bldg 648
Must be posted in the area